## Resumo
SENSORES
Count of Codigo | Column Labels
Row Labels | 1 Andar | 2 Andar | R\c | (blank) | Grand Total
Abertura (janela) |  |  | 21 |  | 21
Agua | 4 | 2 | 6 |  | 12
Consola Alarme - Abertura |  |  | 2 |  | 2
Cortina por Barreiras | 1 |  |  |  | 1
Fumo | 2 |  | 1 | 5 | 8
Movimento | 4 | 6 | 12 |  | 22
Grand Total | 11 | 8 | 42 | 5 | 66
CAMERAS
Count of IP | Column Labels |  |  |  |  | Count of IP | Column Labels
Row Labels | 1 | 2 | Rc | Grand Total |  | Row Labels | 1 | 2 | Rc | (blank) | Grand Total
Fixa | 9 | 3 | 15 | 27 |  | 1 | 2 |  | 6 | 3 | 11
PTZ Rotativa | 1 |  | 3 | 4 |  | 192.162.2.37/38 |  |  | 1 |  | 1
Grand Total | 10 | 3 | 18 | 31 |  | 192.168.0.106 |  |  |  | 1 | 1
[6 empty] | 192.168.0.107 |  |  |  | 1 | 1
[6 empty] | 192.168.0.160 | 1 |  |  |  | 1
[6 empty] | 192.168.2.1 |  |  |  | 1 | 1
Rede | [5 empty] | 192.168.2.10 |  |  |  | 1 | 1
[6 empty] | 192.168.2.11/30 |  |  | 1 |  | 1
[6 empty] | 192.168.2.12 |  |  | 1 |  | 1
Count of IP | Column Labels |  |  |  |  | 192.168.2.14 | 1 |  |  |  | 1
Row Labels | 1 | 2 | Rc | (blank) | Grand Total | 192.168.2.2 | 1 |  |  |  | 1
Bridge Antena |  | 1 |  | 1 | 2 | 192.168.2.20 |  |  | 1 |  | 1
Extender |  |  |  | 1 | 1 | 192.168.2.21 |  |  | 1 |  | 1
Gravador NVR CCTV |  |  |  | 1 | 1 | 192.168.2.22 | 1 |  |  |  | 1
Impressora Multifuncoes | 1 |  |  |  | 1 | 192.168.2.23 | 1 |  |  |  | 1
PowerLine |  |  |  | 4 | 4 | 192.168.2.24 | 1 |  |  |  | 1
Router | 2 | 2 | 3 | 1 | 8 | 192.168.2.25 |  | 1 |  |  | 1
Sonda Adagios |  |  |  | 1 | 1 | 192.168.2.26 |  |  | 1 |  | 1
Grand Total | 3 | 3 | 3 | 9 | 18 | 192.168.2.28/29 |  |  | 1 |  | 1
[6 empty] | 192.168.2.3 |  | 1 |  |  | 1
[6 empty] | 192.168.2.32/31 |  |  | 1 |  | 1
[6 empty] | 192.168.2.33/34 |  |  | 1 |  | 1
[6 empty] | 192.168.2.36/35 |  |  | 1 |  | 1
[6 empty] | 192.168.2.39 | 1 |  |  |  | 1
[6 empty] | 192.168.2.4 |  | 1 |  |  | 1
[6 empty] | 192.168.2.40 |  | 1 |  |  | 1
[6 empty] | 192.168.2.41 |  | 1 |  |  | 1
[6 empty] | 192.168.2.42 |  |  | 1 |  | 1
[6 empty] | 192.168.2.44 | 1 |  |  |  | 1
[6 empty] | 192.168.2.46 | 1 |  |  |  | 1
[6 empty] | 192.168.2.47 |  |  | 1 |  | 1
[6 empty] | 192.168.2.48 | 1 |  |  |  | 1
[6 empty] | 192.168.2.49 | 1 |  |  |  | 1
[6 empty] | 192.168.2.5 |  |  | 1 |  | 1
[6 empty] | 192.168.2.50 |  |  |  | 1 | 1
[6 empty] | 192.168.2.6 |  |  | 1 |  | 1
[6 empty] | 192.168.2.7 |  |  |  | 1 | 1
[6 empty] | 192.168.2.8 |  | 1 |  |  | 1
[6 empty] | 192.168.2.9 |  |  | 1 |  | 1
(blank)
[6 empty] | Grand Total | 13 | 6 | 21 | 9 | 49

## Sheet1
PBR9
PBR3
PBR5
PBR6
UTP
pbr2
PBR1 | 5G
PBR4

## Detectores
Codigo | Consola | Detector | Int / Ext | Andar | N. Sala | Descrição Sala
2 | Palacete | Abertura (janela) | Interior | R\c | 5 | Terceira Janela da Sala Jantar Rc
3 | Palacete | Abertura (janela) | Interior | R\c | 5 | Segunda Janela Sala Jantar
5 | Palacete | Abertura (janela) | Interior | R\c | 5 | Primeira Janela Sala Jantar
6 | Palacete | Abertura (janela) | Interior | R\c | 5 | Quarta Janela Sala Jantar
7 | Palacete | Movimento | Interior | R\c | 0 | Entrada palacete
8 | Palacete | Movimento | Interior | R\c | 2 | Quarto Tio Ze
9 | Palacete | Movimento | Interior | R\c | 3 | Sala Azul
10 | Palacete | Movimento | Interior | R\c | 4 | Sala Amarela
11 | Palacete | Movimento | Interior | R\c | 5 | Sala Jantar
12 | Palacete | Movimento | Interior | R\c | 1 | Segunda sala estar rc lado direito
13 | Palacete | Movimento | Interior | R\c | 1 | Primeira sala estar RC lado direito
15 | Palacete | Agua | Interior | 1 Andar | 29 | Casa de Banho
16 | Palacete | Agua | Interior | R\c | 9 | Casa de Banho
17 | Palacete | Agua | Interior | R\c |  | Cozinha
18 | Palacete | Agua | Interior | 1 Andar |  | Cozinha
20 | Palacete | Movimento | Interior | 1 Andar | 21 | Escritorio 1 sala
21 | Palacete | Movimento | Interior | 1 Andar | 24 | Quarto Amarelo
22 | Palacete | Movimento | Interior | 1 Andar | 23 | Sala Estar Azul 6
24 | Palacete | Movimento | Interior | 1 Andar | 25 | Sala Jantar
30 | Palacete | Abertura (janela) | Interior | R\c | 2 | Janela Quarto
31 | Palacete | Abertura (janela) | Interior | R\c | 3 | Janela Sala Azul
32 | Palacete | Abertura (janela) | Interior | R\c | 3 | Janela Sala Azul
33 | Palacete | Abertura (janela) | Interior | R\c | 4 | Janela Sala Amarela
34 | Palacete | Abertura (janela) | Interior | R\c | 5 | Quinta Janela Sala Jantar
35 | Palacete | Abertura (janela) | Interior | R\c |  | Segunda sala estar RC lado direito
37 | Palacete | Abertura (janela) | Interior | R\c |  | Porta Principal
38 | Palacete | Abertura (janela) | Interior | 1 Andar |  | Porta Terraco
39 | Palacete | Abertura (janela) | Interior | R\c |  | Janela Cozinha
40 | Palacete | Abertura (janela) | Interior | 1 Andar |  | Janela Cozinha
92 | Palacete | Fumo | Interior
93 | Palacete | Fumo | Interior
94 | Palacete | Fumo | Interior | R\c |  | Sala Jantar
95 | Palacete | Fumo | Interior | R\c |  | Sala torreao
96 | Palacete | Fumo | Interior | 1 Andar | 26 | Cozinha
97 | Palacete | Consola Alarme - Abertura | Interior | R\c | 0 | Entrada palacete
98 | Palacete | Fumo | Interior | 1 Andar | 31 | Corredor
99 | Palacete | Fumo | Interior |  | 38 | Sala Estar
30 |  | Barreiras | Interior | Rc |  | Sala Torreao
??? | Palacete | Abertura (janela) | Interior | R\c | 1 | Janela Primeiro Escritório Rc
??? | Palacete | Abertura (janela) | Interior | R\c |  | Janela Continuação Escritório Rc
14 |  | Movimento |  |  |  | Cozinha
??? | Palacete | Fumo | Interior | R\c | 11 | Cozinha
??? | Caseiro | Consola Alarme - Abertura | Interior | R\c | 14 | Casa do Caseiro
1 | Caseiro | Movimento | Interior | R\c | 13 | Casa Jardim
2 | Caseiro | Movimento | Interior | R\c | 14 | Casa do Caseiro
3 | Caseiro | Movimento | Interior | R\c | 16 | Eventos - Recepção
4 | Caseiro | Movimento | Interior | R\c | 17 | Eventos - Sala Bar
5 | Caseiro | Movimento | Interior | R\c | 18 | Eventos - Sala Apoio
15 |  | Agua |  |  |  | Casa Banho
30 | Caseiro | Abertura (janela) | Interior | R\c |  | Porta
31 | Casa Jardim | Abertura (janela) | Interior | R\c |  | Porta
30 | Caseiro | Cortina por Barreiras | Exterior | 1 Andar | Varanda | Varanda Primeiro Andar
10 | Palacete | Movimento | Interior | 2 Andar | 37 | Entrada Interior
8 | Palacete | Movimento | Interior | 2 Andar | 37 | Entrada Exterior
| Palacete | Movimento | Interior | 2 Andar
7 | Palacete | Movimento | Interior | 2 Andar | 38 | Sala
6 | Palacete | Movimento | Interior | 2 Andar | 39 | Cozinha
41 | Palacete | Agua | Interior | 2 Andar |  | Cozinha Lava Loicas
42 | Palacete | Agua | Interior | 2 Andar |  | Casa Banho Retrete
??? | Palacete | Movimento | Interior | 2 Andar | 41 | Torreao
? | Palacete | Abertura (janela) | Interior | R\c
? | Palacete | Abertura (janela) | Interior | R\c
? | Palacete | Abertura (janela) | Interior | R\c
? | Palacete | Abertura (janela) | Interior | R\c
? | Palacete | Abertura (janela) | Interior | R\c
? | Palacete | Abertura (janela) | Interior | R\c
? | Caseiro | Abertura (janela) | Interior | R\c
? | Eventos | Abertura (janela) | Interior | R\c
? | Eventos | Abertura (janela) | Interior | R\c
? | Eventos | Abertura (janela) | Interior | R\c
? | Palacete | Agua | Interior | R\c
? | Palacete | Agua | Interior | 1 Andar
? | Palacete | Agua | Interior | 2 Andar
? | Palacete | Agua | Interior | 2 Andar
? | Caseiro | Agua | Interior | R\c
? | Eventos | Agua | Interior | R\c
? | Eventos | Agua | Interior | R\c
? | Eventos | Agua | Interior | R\c
? | Eventos | Agua | Interior | 1 Andar
? | Eventos | Agua | Interior | 1 Andar
? | Palacete | Fumo | Interior
? | Palacete | Fumo | Interior
? | Palacete | Fumo | Interior
? | Palacete | Fumo | Interior

## CCTV
IP | Type | NVR | monitored | reservation | UID | MAC | User | Password | Password | Wifi | bitrate | Tipo | Marca | Modelo | Andar | Divisão | Local | Nome | Lente (mm) | SD | RJ 45 | Dome
192.168.2.11 | Camera | D7 | ok | ok | CKJE4YM6BXAXGEEK111A | Wlan - E8:AB:FA:45:55:41 / Lan - C2:EC:3A:D1:30:48 | admin | viloxis | portugal | PBR9 | 1024 | Fixa | Visioncool | VC-IP1U10WF4 | Rc | Entrada Palacete | Exterior |  | 3.6 | Nao | Sim | Nao
192.168.2.12 | Camera | D7 | ok | ok | HWAA-002043-EEAFE | AC:A2:13:1C:91:39 | admin | viloxis |  | PBR9 | 1024 | PTZ Rotativa | WANSCAM | HW0024 | Rc | Corredor | Interior |  | 3.6 | Sim | Sim | Nao
192.168.2.14 | Camera | D8 | ok | ok | HWAA-002035-CEDFD | AC:A2:13:1C:76:6D / 00:e0:f8:01:c8:21 | admin | viloxis |  | PBR3 | 1024 | PTZ Rotativa | WANSCAM | HW0024 | 1 | Eventos salao janela | Interior |  | 3.6 | Sim | Sim | Nao
192.168.2.20 | Camera | D21 | ok | ok | 9adae7f9ce034fd5 | 3C:33:00:68:96:1F | admin | viloxis |  | PBR12 | 720 | Fixa | CCTV | C141216-IP026 | 1 | porta sala jantar | Interior | eye1 | 3.6 | Sim | Nao | Sim
192.168.2.21 | Camera | D22 | ok | ok | 17bcf52e0807e7cc | 3C:33:00:69:98:9B | admin | viloxis |  | PBR9 | 720 | Fixa | CCTV | C141216-IP026 | rc | escritorio | Interior | eye2 | 3.6 | Sim | Nao | Sim
192.168.2.22 | Camera | D1 | ok | ok | a6f41423b6469fd7 | 3C:33:00:CB:43:A3 | admin | blank |  | pbr12 | 720 | fixa | cctv | C141216-IP026 | 1 | sala jantar | interior | eye3 | 3.6 | Sim | Nao | Sim
192.168.2.23 | Camera | D23 | ok | ok | 9de60a337573ce73 | 3C:33:00:CB:E7:86 | admin | blank |  | pbr6 | 720 | fixa | cctv | C141216-IP026 |  | Eventos garagem grande | interior | eye4 | 3.6 | Sim | Nao | Sim
192.168.2.24 | Camera | D10 | ok | ok | a9562b1a2331793e | 3C:33:00:3B:E5:42 | admin | viloxis |  | pbr12 | 720 | fixa | cctv | C141216-IP026 | 1 | sala azul | interior | eye5 | 3.6 | Sim | Nao | Sim
192.168.2.25 | Camera | D9 | ok | ok | 4dccbfff850df9d3 | 3C:33:00:3B:E4:D4 | admin | blank |  | pbr3 | 720 | fixa | cctv | C141216-IP026 | 1 | quarto amarelo | interior | eye6 | 3.6 | Sim | Nao | Sim
192.168.2.26 | Camera | D24 | ok | ok | 4749e3bcb3c4ee6a | 3C:33:00:C9:F6:A4 | admin | viloxis |  | pbr6 | 720 | fixa | cctv | C141216-IP026 | rc | Eventos garagem pequena | interior | eye7 | 3.6 | Sim | Nao | Sim
192.168.2.28/29 | Camera | D4 | ok | ok | YM7R957AXUSY7PPX111A | wlan E8:AB:FA:45:55:3D / lan C2:C3:30:B7:30:D0 | admin | admin |  | PBR5 | 1024 | Fixa | Visioncool | VC-IP1U10WF4 | Rc | caseiro | Exterior |  | 3.6 | Nao | Sim | Nao
192.168.2.33/34 | Camera | D3 | ok | ok | ZP8Y12TMZYCB45FW111A | LAN C2:BF:91:9A:96:C8 / WLAN E8:AB:FA:45:55:25 | admin | admin | portugal | PBR5 | 1024 | Fixa | Visioncool | VC-IP1U10WF4 | Rc | caseiro2 | Exterior |  | 3.6 | Nao | Sim | Nao
192.168.2.36/35 | Camera | D2 | ok | ok | RT7THFCN95871WBW111A | Lan C2:6D:6D:D1:2F:1F / wlan E8:AB:FA:45:55:2F | admin | admin | portugal | PBR6 | 1024 | Fixa | Visioncool | VC-IP1U10WF4 | Rc | Salao | interior |  | 3.6 | Nao | Sim | Nao
192.162.2.37 (AVARIADA) | Camera |  | ok | ok | AAAA-193800-XPDFF | Lan 00:E0:F8:06:9D:CD / WLAN 48:02:2A:D3:B7:C2 | admin | viloxis | admin | UTP | 1024 | PTZ Rotativa | KKMOON |  | RC | Terraço | Interior |  | 3.6 | Sim | Sim | Nao
192.168.2.39 | Camera | D11 | ok | ok | dc469c84c0e39c1c | 3C:33:00:3B:EE:30 | admin | blank |  | pbr4 | 720 | fixa | cctv | C141216-IP026 | 1 | cozinha | interior | eye8 | 3.6 | Sim | Nao | Sim
192.168.2.40 | Camera | D13 | ok | ok | 08312f4e9633a726 | 3C:33:00:3B:EE:1D | admin | viloxis |  | pbr7 | 720 | fixa | cctv | C141216-IP026 | 2 | sala | interior | eye9 | 3.6 | Sim | Nao | Sim
192.168.2.41 | Camera | D17 | ok | ok | 17bcf52e0807e7cc | 3C:33:00:CB:43:8A | admin | viloxis |  | pbr3 | 720 | fixa | cctv | C141216-IP026 | 2 | Cozinha | interior | eye10 | 3.6 | Sim | Nao | Sim
192.168.2.42 | Camera | D12 | ok | ok | 874ee0885074ff00 | 3C:33:00:13:9E:CF | admin | viloxis |  | pbr11 | 720 | fixa | cctv | C141216-IP026 | rc | Quarto amarelo | interior | eye11 | 3.6 | Sim | Nao | Sim
192.168.2.44 | Camera | D14 | ok | ok | EEEE-037329-RJUZR | 00:7E:56:AC:F5:C7 | admin | viloxis |  | PBR4 | 1024 | fixa | IPCAM | C6F0SgZ0N0P0L0 | 1 | Terraco | interior | nova | 3.6 | Nao | Sim | Nao
192.168.2.32/31/45 | Camera | D5 | ok | ok | AAAA-193829-VLNVN | WLAN 48:02:2A:D3:B5:BE / LAN 00:E0:F8:06:9C:DD | admin | admin | viloxis | PBR5 |  | PTZ Rotativa | KKMOON | SD13W | Rc | Terraço | Exterior |  | 3.6 | Sim | Sim | Nao
192.168.2.46 | Camera | D15 | ok | ok | EEEE-037382-MHWUW | 00:7E:56:AF:B5:DC | admin | viloxis |  | UTP | 1024 | Fixa | IPCAM | C6F0SgZ0N0P0L0 | 1 | Corredor poste | interior | nova | 3.6 | Nao | Sim | Nao
192.168.2.47 | Camera | D16 | ok | ok | EEEE-037363-GNPCH | 00:7E:56:AC:EF:7E | admin | viloxis |  | PBR9 | 1024 | fixa | IPCAM | C6F0SgZ0N0P0L0 | Rc | Escadas Palacete | interior | nova | 3.6 | Nao | Sim | Nao
192.168.2.48 | Camera |  | ok | ok | EEEE-037356-CGBNG | 00:7E:56:AF:B6:04 | admin | viloxis |  | UTP | 1024 | Fixa | IPCAM | C6F0SgZ0N0P0L0 |  |  | Interior | nova | 3.6 | Nao | Sim | Nao
192.168.2.52 | Camera | D18 | ok | ok | b78bc4ce33d55104 | 00:12:17:4e:14:39 | admin | viloxis |  | UTP | 1920 | Fixa | Luckertech | LTWD-72DRC | 1 | Corredor tecto | Interior | nova | 6 | Sim | Sim | Sim
192.168.2.55 | Camera | D6 | ok | ok | bde37d6d1512d2f0 | 00:12:17:4e:0c:c4 | admin | viloxis |  | UTP | 1920 | Fixa | Luckertech | LTWD-72DRC | Rc | sala azul | Interior |  | 6 | Sim | Sim | Sim
192.168.2.54 | Camera | D20 | ok | ok | a318e776ef3bad95 | 00:12:17:4e:25:fb | admin | viloxis |  | UTP | 1920 | Fixa | Luckertech | LTWD-72DRC | 1 | Eventos cozinha | Interior |  | 6 | Sim | Sim | Sim
192.168.2.53 | Camera | D25 | ok | ok |  |  | admin | viloxis |  | UTP | 1920 | Fixa | Luckertech | LTWD-72DRC | 1 | Eventos Salao | Interior |  | 6 | Sim | Sim | Sim
192.168.2.130 | Camera | D19 | ok | ok | 637fe8bab93a68b8 | 00:12:17:4e:25:fd | admin | viloxis |  | UTP | 1920 | Fixa | Luckertech | LTWD-72DRC | Rc | Sala de jantar | Interior |  | 6 | Sim | Sim | Sim
192.168.2.149 | camera | D26 | ok | ok |  | EC:3D:FD:B5:37:98 | admin | viloxis |  | pbr2 | 1920 | fixa | Luckertech | LTWD-72DRC | 1 | eventos cozinha frigorifico | interior | nova | 6 | sim | sim | sim
192.168.2.145 | camera | D27 | ok | ok |  |  | admin | viloxis |  | pbr2 | 1920 | fixa | Luckertech | LTWD-72DRC | 1 | Eventos Salao | Interior | nova | 6 | sim | nao | sim
192.168.2.49 | Impressora |  | NA | ok |  | 60:12:8B:69:90:87 | [5 empty] | Impressora Multifuncoes |  | Canon 490 MX | 1
192.168.2.50 | NVR |  | ok | ok | 0ec22b2d350347c7 | 00:12:16:df:5d:53 | admin / pbr | 6995 / pbr |  |  |  | Gravador NVR |  | 32 Canais |  | Casa Tios
192.168.2.27 | NVR | [10 empty] | Gravador NVR |  | 4 Canais | 2 | Sala | Interior
192.168.2.1 | Router |  | ok | ok | (dhcp 60 a 250) (openvpn client 10.8.0.6) (Casa Tios), SSID:PBR1 PWD:1234567890 (5+5+5) pwconsola:templarios2011 | wan 60:E3:27:32:C0:0F / lan 60:E3:27:32:C0:0E | admin | templarios2011 | portugal2018 | PBR1 |  | Router | TP Link | 1043v2 |  | Casa Tios
192.168.2.2 | Router |  | ok | ok | SSID:PBR2, ch:1, 20Mhz (5+8+12) | 64:66:B3:A1:BF:2A | admin | viloxis |  |  |  | Router | TPLINK OpenWrt | 941V5 | 1 | salao eventos | Interior
192.168.2.3 | Router |  | ok | ok | SSID:PBR3, ch:1, 20mhz (5+5+8) | C4:6E:1F:B9:07:62 | admin | viloxis |  | PBR3 |  | Router | TP Link | 1043v2 | 2 | Torreao | Interior
192.168.2.5 | Router |  | ok | ok | SSID:PBR5, ch:1, 20Mhz (5+5+12) | 30:B5:C2:3E:7D:C8 | admin | viloxis |  |  |  | Router | TP Link | 1043v2 | Rc | Caseiro | Interior
192.168.2.6 | Router |  | ok | ok | SSID:PBR6, ch:6, 20 Mhz (5+12) | 78:44:76:41:80:8A | admin | viloxis |  |  |  | Router | Atlantis |  | rc | Bastidor | Interior
192.168.2.9 | Router |  | ok | ok | SSID:PBR9, ch:11, 20Mhz (5+8+12) | 60:E3:27:32:AE:5E | admin | viloxis |  |  |  | Router | TP Link | 1043v2 | Rc | quarto brinquedos | Interior
192.168.2.30 | Router |  |  |  | SSID:PBR7, ch2G:6 ,ch5G:36, 20Mhz (5+5+8) |  | admin | viloxis |  | PBR10 (5G) / PBR4(2.4G) | portugal2016 | Router | TP Link | TL-WDR4900 (N900) | 1 | Cozinha 1andar | Interior |  | portugal2016
192.168.2.4 | Router |  |  |  | SSID:PBR7, ch:11, 20Mhz (5+5+8) |  | admin | viloxis |  | PBR7 |  | Router | TP Link | 1043v2 | 2 | Sala | Interior
1 | PowerLine | [5 empty] | admin | password |  |  |  | PowerLine | Netgear | Av500 + WiFi XAV5201 |  |  | Interior
1 | PowerLine | [5 empty] | admin | password |  |  |  | PowerLine | Netgear | Av500 + WiFi XAV5201 |  |  | Interior
192.168.0.107 | PowerLine | [5 empty] | admin | viloxis | portugal2016 | PBR22 |  | PowerLine | Netgear | Av500 + WiFi WNB5001 |  |  | Interior
192.168.0.106 | PowerLine | [5 empty] | admin | viloxis | portugal2016 |  |  | PowerLine | Netgear | Av500 + WiFi WNB5001 |  |  | Interior
1 | Extender | [5 empty] | admin |  |  |  |  | Extender | TP Link | TL-WA850RE |  |  | Interior
Router
192.168.2.7 | Bridge |  | ok | ok |  | Lan 00:15:6D:3A:A5:83 / wlan 00:15:6D:3A:A5:83 |  | admin | viloxis |  |  | Bridge Antena |  |  |  | Tios
192.168.2.8 | Bridge |  | ok | ok |  | lan 04:18:D6:9F:97:9B / wlan 04:18:D6:9E:97:9B | [5 empty] | Bridge Antena |  |  | 2 | Palacete
192.168.2.10 | Sonda |  | ok | ok |  | B8:27:EB:A1:E6:02 | (pi:raspberry nagiosadmin:nagiosadmin) | http://192.168.2.10/adagios (adagios:adagiosadmin) |  |  |  | Sonda Adagios

## FTPSERVER
ftpserver:
ftp://192.168.2.59/ftp
user: ftpuser
pw: viloxis
laptop:
user: ftpuser
pw: viloxis
user:tokei
pw:portugal
mega 50Gb:
info@pbr.pt
templarios2011

## Sheet2
WIFI
PBR1 | 5G
PBR11 | 5G
pbr2
PBR3
PBR4
PBR5
PBR6
PBR7
PBR9
UTP

## OBS
** NOTAS **
Camaras CCTV (user Admin e Pass: admin ou viloxis ou portugal2015!). quando fazem factory default ficam com o IP 192.168.1.136
** DESACTIVADO **
192.168.2.38 |  | AVARIADO AAAA-193800-XPDFF | 37 | LAN 00:E0:F8:06:9D:CD / WLAN 48:02:2A:D3:B7:C2 | admin | admin |  | PBR5 | PTZ Rotativa | KKMOON | SD13W | Rc | Caseiro | Exterior
192.168.2.4 AVARIADO |  | AVARIADO SSID:PBR4, ch:4, 20Mhz (5+5+5) |  | 00-23-CD-15-98-AC | admin | viloxis |  |  | Router | TP Link | 941v3.2 | 1 | Salao
192.168.2.27 | NVR |  | desligado |  |  | admin | 6995 |  |  | 4 Canais - Gravador NVR CCTV
1 camera sem transformador, e sem sdcard

## Sheet3
IP
192.168.2.11/30 | Livres
192.168.2.12 | 13
192.168.2.14 | 15
192.168.2.20 | 16
192.168.2.21 | 17
192.168.2.22 | 18
192.168.2.23 | 19
192.168.2.24 | 27
192.168.2.25 | 30
192.168.2.26
192.168.2.28/29 | 43
192.168.2.33/34 | 45
192.168.2.36/35
192.162.2.37/38
192.168.2.39
192.168.2.40
192.168.2.41
192.168.2.42
192.168.2.44
192.168.2.32/31
192.168.2.46
192.168.2.47
192.168.2.48
1
1
1
1
1
1
1
1
192.168.2.49
192.168.2.50
192.168.2.1
192.168.2.2
192.168.2.3
192.168.2.5
192.168.2.6
192.168.2.9
192.168.0.160
192.168.2.4
1
1
192.168.0.107
192.168.0.106
1
192.168.2.7
192.168.2.8
192.168.2.10